## Slide 2: The Technologies of Transition
Tom Seng, Ed.D.
Assistant Professor of Energy Finance
Ralph Lowe Energy Institute - Texas Christian University

## Slide 5: What “Transition”?
Coal-fired to natural gas-fired generation has been occurring for years, now.
  Emissions standards
  Cleaner burning natural gas
  More abundant supplies thanks to shale revolution
  Mostly cheaper
Solar PV and Wind generation growth has been consistent
New nuclear plants – Vogtle #3 & #4
  Despite cost overruns

## Slide 6: Why a transition? (from fossil fuels)
United Nations Council on Climate Change
  Paris Accord – December 2015
    196 signatory countries
    Limit global warming to less than +2.0⁰ C annually
    Legislated without guidance
  ESG investing
    “activist” investors – e.g., “Engine No. 1” vs. Exxon
    Anti-fossil fuel investing
    Higher education endowments shifting from fossil fuels

## Slide 7: A transition delayed…?
Mother Nature Intervenes
Winter Storm Uri – February 2021
  Brought reality of energy infrastructure issues to the forefront
    Wind turbine blade freezes
    No solar on cloudy/snowy days
    Natural gas freeze-offs on a huge scale
    Power outages impacted field operations
    Stability of nuclear power
      TX – South Texas Plant; Comanche Peak

## Slide 8: A transition delayed…?
Summer of 2021 – Global Record Heat
  UK – Failure of North Sea Wind Generators
    Heavy reliance on imported LNG and gasoil
  China/Asia/India
    Increased coal usage
    Reliance on LNG imports
  California
    Low hydropower availability – “snowpack” issue
    Import fossil-fueled power

## Slide 9: A transition delayed…?
February 2022 – Russian Invasion of Ukraine
  Boycott/interruption of Ural exports? (3.0 million Bbld.)
  Skyrocketing global oil prices/gasoline prices
  EU/UK attempting to wean off Russian energy
    Global LNG prices spike
  France rethinks nuclear energy
    Plans (12) new plants in the coming decades
  Energy security becomes paramount

## Slide 10: Natural Gas Futures Prices - Russia/Ukraine

## Slide 11: Dutch Title Transfer Facility (TTF)

## Slide 12: Henry Hub Natural Gas

## Slide 17: A transition delayed…?
Summer of 2022 Deja vu – Global Record Heat
  UK/EU
    Heavy reliance on imported LNG and gasoil
  China/Asia/India
    Increased coal usage
    Reliance on LNG imports
  Record-high natural gas prices
    US “tapped-out” on LNG exports
    Record send-out
    Scramble for long-term purchase agreements
    More greenfield and expansion projects receive “FID”

## Slide 18: A transition delayed…?
Summer of 2022 Deja vu – Global Record Heat
  California/SW US
    Low hydropower availability – drought & “snowpack” issue
    Import fossil-fueled power
    Rethink Diablo Canyon Nuclear Plant shut-down
    Delay closure of (3) gas-fired plants in SoCal
    Residential solar fees
    Halt new construction using natural gas
    Outlaw sale of gasoline-powered vehicles

## Slide 19: A transition including fossil fuels…..?
Carbon Capture & Sequestration (CCS)
  Opportunity to change the O&G industry image
  Capture global warming emissions – CO2
    Operational & Atmospheric (DAC)
  Sequester
    Geologic formations
      Evaluate on case-by-case basis
    Abandoned oil & gas reservoirs
      Known characteristics
      “orphan” wells
    Enhanced Oil Recovery – inject CO2, drive hydrocarbons, sequester CO2

## Slide 20: A transition including fossil fuels…..?
Financial incentives – Tax Credits (US Code § 45Q)
  Energy Improvement & Extension Act of 2008
    Differing credits for permanent storage vs. EOR
  CCUS Tax Credit Act – 2021
    Extended the credits
    BKV – Barnett CCS: November 2023
      Receives CO2 from EnLink Plant, stores supercritical CO2
  DOE – Research Funding for CCS

## Slide 21: A transition including fossil fuels…..?
Carbon Capture & Utilization (CCU)
  CO2 as a needed industrial/commercial gas
    Beverage carbonation (beer, wine, soft drinks, carbonated H₂O)
    Concrete building materials (carbonates & curing)
    Synthetic fuels
    Chemicals & Plastics
    Methanol
    Urea (fertilizer)
    Dry Ice
    Refrigerant
    Aerosol propellant

## Slide 22: A transition including fossil fuels…..?
Carbon Capture & Utilization (CCU)
  CO2 for Enhance Oil Recovery (EOR)

## Slide 23: Direct Atmospheric Capture – CO2
Climeworks - Orca (Norway): 09/08/21
DOE awards $1.2 billion to Project Cypress in Louisiana – Oxy, et al.

## Slide 24: Carbon Capture & Sequestration (CCS)
“Land Grab”
  While mostly secret, may O&G companies are acquiring leases for pore space for CCS/CCUS.
    Oxy – 287k acres in TX & LA
    Chevron – 100k acres in TX
Issues
  Class 6 certification
    100 permits under review by EPA
    States seeking “primacy” (Louisiana has been granted primacy)
  Pore space ownership
  Opposition to sequestration and pipelines

## Slide 25: Alternative & Renewable Energy
Energy Information Administration (DOE)
  +3% growth in electricity demand this year
    Economic growth – positive GDP
    Artificial Intelligence
    Bitcoin mining
    Data center growth
      Google
      Amazon Web Services
      Microsoft Cloud
    Microchip manufacturing
    EV battery manufacturing
    Electrolyzers for H2
    Direct Air Capture “vacuums”

## Slide 26: Alternative & Renewable Energy
Energy Information Administration (DOE)
  Solar, Wind, Hydropower = 22% of US generation in 2024
    Solar = +41% over 2023
      Exceeds hydro in 2025
    Wind = +5% over 2023
    Hydropower = +6% over 2023

## Slide 27: Energy transition or addition….?
Additional sources
  Increasing Solar PV – Utility-scale & Residential/Commercial
    Battery storage dependent
    Land use issues
  Increasing “concentrated” Solar
    High temperature processes – steam for EOR/Power generation
    “molten” salt storage
  Increasing Wind generation – onshore/offshore
    Battery storage dependent
    Land use issues
    Blade disposal/recycling

## Slide 28: Solar & Wind to Supply 33% of Global Power by 2030 - RMI
RMI – independent, non-partisan, nonprofit promoting clean energy
Currently at 12%
12,000 to 14,000 TW by 2030
Solar & battery costs -80% from 2012
Offshore wind costs -73%; Onshore – 57%
Cost of power to decline from $40/kWh to $20/kWh by 2030
IEA: “Russia-Ukraine war accelerated momentum in clean energy
technologies”. (1)
(1) Solar and Wind Power to Supply a Third of Global Power by 2030: RMI | Rigzone

## Slide 29: Planned Utility-Scale Generation

## Slide 30: Energy transition or addition….?
Additional sources
  Renewable Natural Gas (RNG) – Already commercialized
    Large-scale bio-digesters
  Renewable Fuels – Already commercialized
    Biomass derived (food sources, waste oil, soybean oil)
  Geothermal Expansion
    Steam for power generation
    Steam for industrial usage
    Directional/Horizontal Drilling increasing output

## Slide 31: Energy transition or addition….?
Additional sources
  Landfill methane
    (100) new slated projects
  Utility-scale battery storage
  Distributed power “grid”
    Residential solar PV with battery back-up (PG&E)
  Small-scale nuclear power plants
    TerraPower – Natrium® modular plants
      Sodium cooling and molten salt storage
  Hydrogen fuel cells

## Slide 32: A transition accelerated?
The Inflation Reduction Act of 2022 (IRA)
  $369 billion – energy security & climate change investment
  $3.0 billion to reduce air pollution & carbon emissions at nation’s ports
  Extends tax credits for energy efficiency buildings, homes, EVs and charging stations
  Expanded clean energy tax credits for wind, solar, nuclear, battery storage, clean hydrogen, clean fuels, carbon capture.
  Grants & loans to help companies reduce emissions of methane from oil & gas.
  Fees for excess methane emissions.

## Slide 33: Solar Power Generation

## Slide 34: Solar Power Photo-voltaic generation (PV)

## Slide 35: Solar Power in Texas - 2024 Solar Eclipse

## Slide 36: Residential Solar PV - Distributed Generation

## Slide 37: “Virtual” Power Plants (VPPs)
Utilities establishing pilot battery storage projects
Provide peaking power/load curtailment
Largest source = residential solar
“Micro-grids” – distributed generation & storage

## Slide 38: Floating Solar PV

## Slide 39: Solar Power - Steam generation

## Slide 40: Concentrated Solar

## Slide 41: Wind Power

## Slide 42: Wind Turbine Generation

## Slide 43: “Tornado Alley”
Texas, Iowa, Oklahoma – Top 3 in Wind Generation Capacity

## Slide 44: US Offshore Wind Block Island, RI

## Slide 45: Ocean Wind 1 Project
Offshore-New Jersey 13 nautical miles SE of Atlantic City
1.1 MW
Bureau of Ocean Management (BOEM) approved
Local protestors got it canceled

## Slide 46: New York State Offshore Wind Projects
South Fork Wind - Operational
  130 MW - 35 miles East of Long Island, NY
Empire Wind
  No. 1 = 816 MW planned
  No. 2 = 1,260 MW planned
Sunrise Wind
  924 MW planned
Beacon Wind
  1, 230 MW planned

## Slide 47: Tidal/Current Power

## Slide 48: Tidal Power
https://www.ecowavepower.com/

## Slide 49: Ocean Thermal Energy Conversion (OTEC)

## Slide 50: Geothermal Energy

## Slide 51: Geothermal Resources

## Slide 52: Geothermal Power Generation

## Slide 53: Geothermal in South Texas’ Eagle Ford
Sage Geosystems - Eagle Ford
Sage deploys an enhanced geothermal system using a combination of off-the-shelf oilfield equipment and proprietary technology to capture geothermal power from any underground formation where the required heat level exists. The beauty of this approach is that the oil and gas industry has been drilling into many suitable formations for decades now, and that project execution requires the same basic fields of expertise used in the oil and gas business since its inception.
“It's contained in formations that the oil and gas industry has drilled to these depths for many, many years,” Taff says. “For example, the Starr County test well that we have was drilled in 2008 to a depth of 19,000 feet and almost 500 degrees F. That's plenty of heat right there to have a commercial installation.”
Cindy Taff – CEO Sage Geosystems

## Slide 54: Geothermal in Oklahoma
Baker Hughes - Oklahoma
  Drill down for geothermal hot zones
  Existing and old well sites
  Utilize existing oil & gas technology
  Supply heat for residential heat pumps
  Heat for steam for power generation
  24/7 supply

## Slide 55: Hydro Power

## Slide 56: “Non-Powered” Dams (NPDs)

## Slide 57: Pumped Storage
Pumped hydro storage operates by using electrically powered turbines to force water uphill at night to fill a reservoir while power prices are lower. During times of the day when electricity demand is high, the water is released to flow downhill through turbines to generate electricity, shifting the availability of power from overnight generation to serve daytime load adds significant value.
The original water “battery”

## Slide 58: Oklahoma Pumped Storage Facility
Grand River Dam Authority
Salina, OK Pumped-Storage Project

## Slide 59: Biomass Heat Energy

## Slide 60: BP Invests in Waste-to-Fuel Company
WasteFuel – convert municipal and agricultural wasted into biomethanol for shipping industry
Replace high-sulfur
“bunker” fuel
First plant - Dubai

## Slide 61: Hydrogen (H₂)
Sources & “colors”
Methane
  “blue”: electrolysis separation w/CCS
  “grey”: electrolysis w/o CCS
Water – “green”: electrolysis separation using renewable power
Ammonia – “turquoise” – thermal separation from methane
Issues as combustible fuel
  Initial blending into natural gas infrastructure
  Burner-tip change outs
  Leakage - CH₄ vs. H₂
  Increased electricity demand for electrolyzers
Expanding use in fuel cells

## Slide 62: Hydrogen Hubs
Infrastructure Investment & Jobs Act – 2021
  $8.0 billion for regional clean hydrogen hubs.
  Target – at least (4) US regional hubs
  Feedstock diversity
  Clean hydrogen from fossil fuels
  Hydrogen from renewable energy
  Hydrogen from nuclear energy
  Proximity to natural gas resources
  CCS/CCUS to play a key role in the hydrogen production

## Slide 63: Fuel Cell Cars & Trucks
Hyundai
Toyota
Honda
Nikola

## Slide 64: Hydrogen Planes & Trains
Alaska Airlines
  prototype
Airbus
  Commercial planes by 2035
Canada
  Prototype train

## Slide 65: Supply & Demand for EV Battery Materials
EVs = 56% of US passenger vehicles by 2030
= 5,000,000 tons of battery packs (+500% increase)
= 200,000 tons of lithium; 100,000 tons of cobalt
Growing utility-scale battery storage
IRA impact - $65 billion flowing into EV supply chain
Lithium supply
  China is the No. 1 source of lithium
  US – Salton Sea Project
  Berkshire Hathaway – geothermal brine project SE CA
  Exxon buys lithium drilling rights in Arkansas
  Brine from oil production wastewater?

## Slide 66: Toyota Develops 745- mile range solid state battery
10-minute charging time
“solid state” = solid electrolyte
Larger storage capacity than conventional batteries

## Slide 67: Graphene Batteries
Graphene batteries are a new form of energy storage technology that hold the potential to revolutionize the way we power our devices and vehicles. Graphene is an extremely thin, light and strong form of carbon that can be used to create ultra-thin electrodes, which can store and release energy more efficiently than traditional battery technologies. Graphene batteries can be used in a variety of applications, ranging from consumer electronics and electric vehicles to medical and military applications. Current batteries cannot handle more than 500 charge cycles, unlike graphene batteries which can manage up to 1500 charge cycles. Moreover, graphene batteries respond to fast charging better.

## Slide 68: EV Batteries – Advances in Charging
Battery “Swap out”

## Slide 69: EV Batteries – Advances in Charging
Charging roadways

## Slide 70: Utility-Scale Battery Storage

## Slide 71: Small Modular Nuclear Reactors (SMR)
SMR = 0.5 MW to 300 MW
Westinghouse announced the launch of a small version of its flagship AP1000 nuclear reactor on Thursday.
The new reactor, called the AP300, aims to be available in 2027, and will generate about a third of the power as the flagship AP1000 reactor, enough to power about 300,000 homes (300MW)
It’s expected to cost about $1 billion to set up each plant, a small fraction of the expense of the full AP1000.

## Slide 72: Small Modular Nuclear Reactors (SMR)
Terra Power’s Natrium Plant
Wyoming prototype
Sits atop a salt dome used for cooling
Stores heat as molten salt
Create additional steam from stored heat

## Slide 73: Key Issues Remain
Transition to hydrogen as main source of heat energy will be decades long.
Increased power demand for electrolyzers
CCS/CCUS will rapidly expand over the next decade.
  “Class 6” wells and “primacy”
Opposition to CO₂ & H₂ pipelines
  NIMBY/NOPE/BANANA
Critical minerals for batteries
  Cobalt, lithium, nickel
China – No. 1 global lithium miner
Need “liquid” & “solid state” battery construction

## Slide 74: Thank you!